## Slide 1: Construction
Aims
We will design, build and maintain our premises safely to protect our contractors, colleagues from harm.
Construction activities present a high risk of harm to contractors working on our behalf, and if not safely managed could affect our colleagues, customer and the public.
Our Standard
All contractors must be inducted and, where appropriate complete an Authority to Work (ATW), before commencing work site.
All construction work must be planned to reduce or remove safety risks.
All contractors must be verified as competent before using them on any construction or maintenance project.
Inspections and audits must be carried out during and post construction work to monitor compliance.
All incidents must be reported and investigated according to TIR Incident and Hazard Procedure.